Miscellaneous

2G 35MM SWITCH & SOCKET BOX REF: PSB235

1G 35MM SWITCH & SOCKET BOX REF: PSB135

MK GRID MFRONTPLATE 12 MODULE REF: K3502ALM

MK GRID BOX 9&12 GANG SURFACE C/W KO REF: K8895ALM

MK GRID FRAME 4G 4 MODULE REF: K3704

MK GRID SWITCH 1 W DP 20A REF: K4896

MK GRID SWITCH 2 W DP 20A REF: K4892

MK GRID SWITCH 1 W DP KEY REF: K4917

MK METALCLAD SWITCH 1 GANG 2 WAY SP 10A REF: K3591

MK GRID BLANK INSERT 1 MODULE REF: K4880

MK GRID FRONTPLATE 1 MODULE REF: K3491

MK GRID BOX 1&2GANG 40MM SURFACE KO REF: K8891

MK GRID FRAME 1G 1 MODULE REF: K3701

20MM GALVANISED CONDUIT REF: 20CONG

CAPITAL CEILING ROSE 3 PIN C/W WHI REF 5001

GEWISS ENCLOSURE REF: GW44207

S

SUPPLIER HOLLAND HOUSE PH 01475 784431

ACEL BATTEN SINGLE SS 58W WHI REF: AC4004

SUPPLIER ELECTRIC CENTRE PH 01475 552500

KLIK CEILING ROSE 3 PIN REF: PCR2000

KLIK CEILIG ROSE 4 PIN REFl CR64AX

SUPPLIER AIB GLASGOW PH 0141 445 6633

S  E C T I O N   E I G H T.

Inspection & Test Certificates

S E C T I O N   N I N E.

Contract Drawings