## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
757 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
758 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
759 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
760 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
761 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
762 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
763 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
764 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
765 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
766 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
767 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
768 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
769 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
770 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
771 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
772 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
773 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
774 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
775 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
776 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
777 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
778 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
779 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
780 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
781 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
782 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
783 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
784 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
785 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
786 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
787 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
788 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
789 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
790 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
791 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
792 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
793 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
794 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
795 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
796 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
797 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
798 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
799 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
800 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
801 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
802 | PC | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
803 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
804 | KETTLE LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
805 | FAN | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
806 | OFFICE PRINTER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
807 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
808 | EXT LEAD | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
809 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
810 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
811 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
812 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
813 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
814 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
815 | 12V CHARGER | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
816 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
817 | MONITOR | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
818 | DOCKING STATION | UPSTAIRS OFFICE | [5 empty] | 06/10/2017 | Pass
819 | water machine | UPSTAIRS KITCHEN | [5 empty] | 06/10/2017 | Pass
820 | fridge | UPSTAIRS KITCHEN | [5 empty] | 06/10/2017 | Pass
821 | dish washer | UPSTAIRS KITCHEN | [5 empty] | 06/10/2017 | Pass
822 | 12V CHARGER | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
823 | MONITOR | SHEENAS OFFICE | [5 empty] | 06/10/2017 | Pass
824
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462