## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
348 | HEAT GUN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
349 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
350 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
351 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
352 | LAMP | PRODUCTION | [5 empty] | 06/10/2017 | Pass
353 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
354 | PRINTER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
355 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
356 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
357 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
358 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
359 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
360 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
361 | LAMP | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
362 | EXT LEAD | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
363 | PC | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
364 | MONITOR | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
365 | LAMP | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
366 | HEATER | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
367 | PC | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
368 | MONITOR | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
369 | PHOTO COPIER | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
370 | FAN | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
371 | FAN | QUALITY ASSURANCE | [5 empty] | 06/10/2017 | Pass
372 | EXT LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
373 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
374 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
375 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
376 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
377 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
378 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
379 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
380 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
381 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
382 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
383 | CHARGER | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
384 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
385 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
386 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
387 | 110V TRANSFORMER | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
388 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
389 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
390 | EXT LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
391 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
392 | H2 GEN | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
393 | PD TEST | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
394 | PC | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
395 | MONITOR | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
396 | PRINTER | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
397 | KETTLE LEAD | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
398 | CHARGER | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
399 | CHARGER | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
400 | CHARGER | FINAL INSPEC ROOM | [5 empty] | 06/10/2017 | Pass
401 | EXT LEAD | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
402 | EXT LEAD | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
403 | EXT LEAD | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
404 | MONITOR | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
405 | PC | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
406 | 12 V CHARGER | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
407 | 12V CHARGER | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
408 | PRINTER | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
409 | MONITOR | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
410 | PC | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
411 | LAPTOP CHARGER | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
412 | LAPTOP CHARGER | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
413 | LABEL PRINTER | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
414 | EXT LEAD | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
415 | SCALES | WAREHOUSE | [5 empty] | 06/10/2017 | Pass
416
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462