## PAT Test Report
PORTABLE APPLIANCE TESTING REPORT
[6 empty] | REPORT NO.: |  | 2016113
[6 empty] | DATE: |  | 2016-10-06
| APPLIANCE DESCRIPTION |  |  | VISUAL | TEST |  | Functional | DATE OF | PASS | COMMENTS
ID NO. |  | APPLIANCE LOCATION | CLASS | INSPECT | EARTH | INSULATION | Check | NEXT TEST | or
[5 empty] | Ohms | Mohms |  |  | FAIL
211 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
212 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
213 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
214 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
215 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
216 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
217 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
218 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
219 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
220 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
221 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
222 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
223 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
224 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
225 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
226 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
227 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
228 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
229 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
230 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
231 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
232 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
233 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
234 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
235 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
236 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
237 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
238 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
239 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
240 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
241 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
242 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
243 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
244 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
245 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
246 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
247 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
248 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
249 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
250 | MOBILE BENCH | PRODUCTION | [5 empty] | 06/10/2017 | Pass
251 | FAN | PRODUCTION | [5 empty] | 06/10/2017 | Pass
252 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
253 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
254 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
255 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
256 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
257 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
258 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
259 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
260 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
261 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
262 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
263 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
264 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
265 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
266 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
267 | LAPTOP | PRODUCTION | [5 empty] | 06/10/2017 | Pass
268 | BATTERY CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
269 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
270 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
271 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
272 | EXT LEAD | PRODUCTION | [5 empty] | 06/10/2017 | Pass
273 | PC | PRODUCTION | [5 empty] | 06/10/2017 | Pass
274 | MONITOR | PRODUCTION | [5 empty] | 06/10/2017 | Pass
275 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
276 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
277 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
278 | CHARGER | PRODUCTION | [5 empty] | 06/10/2017 | Pass
TEST ENGINEER NAME: GES Electrical Ltd
Peak Scientific Instruments Ltd
Fountain Crescent, Inchinnan Business Park, Renfrew
PA4 9RE
GES Electrical Ltd
42 Victoria Road
Gourock
PA19 1DB
Tel/Fax: 01475 713462